## sizing
|  | Workload (TPS) | Core per Server | Max Server Faults | HA Ratio
|  | 2000 | 72 | 1 | 72%
| Typical core Ratio | TPS by Core | # of Cores for workload TPS | HA cores | Prod cores | Dev % of Workload | Dev cores | Test % of Workload | Test cores | PreProd % of Workload | PreProd cores | DR active cores % of Prod+PreProd | DR cores | DR CBU (spare) cores | Tot # of Active cores | x86 to z Active Core ratio | Tot # of Active cores no DR | x86 to z Core ratio no DR | Tot # of cores | x86 to z Core ratio
x86 | 10 | 20 | 100 | 72 | 172 | 50% | 50 | 50% | 50 | 100% | 100 | 136% | 370 |  | 742 | 24.7333 | 372 | 12.4 | 742 | 14.84
LinuxONE | 1 | 200 | 10 |  | 10 | 50% | 5 | 50% | 5 | 100% | 10 |  |  | 20 | 30 |  | 30 |  | 50
* most customers would have exact replica of Prod
Sizing Disclaimer:
Calculation of required cores for a real workload requires sophisticated analysis.
In order to make a simple and realistic sizing, for this exercise a simplified approach is used considering the Typical core ratio.
The typical core ratio take into account:
Architecture, GHz & utilization, VM & Hypervisor effect, System Overhead, Networking co-location effect, Sysplex, etc.
Although these data will change slightly depending the server model used, these data averages are proved by many real workloads and documented also on papers such as those reported in the references.
Reference: A. Micarelli, S. Proietti Conti, "Why Application Requirements Should Drive the Choice of your Infrastructure", 2021 IBM Corporation web published paper
Download at: | https://www.ibm.com/downloads/cas/2VVYYVNP
Legend:
Input field
Optional input
Suggested input (reccomended not change)
Calculated values
Calculated values highlighted (Very Important)
Calculated values highlighted (Important)
Constant

## x86 TCO
Small Size Enterprise | [15 empty] | Acquisition Cost |  |  |  |  | Maintenance/ Operating Cost |  |  |  |  | TOTALS
Typically x86 workload | [15 empty] | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5
Hardware
Server Model |  | Acquisition Cost | Maintenance/ Operating Cost | Starting Year of Maint | Discount % | # of Cores per Server | # of Sockets | # of Cores per socket | # of "boxes" per Rack |  | kW
Dell R940 3U w Xeon Gold 6254 18C 3.1Ghz (4 Chips, 18 Cores) 24 * 64GB RDIMM 3200MT/s | 6 | 68320 | 13664 | 4 | 30% | 72 | 4 | 18 | 10 |  | 1.6
Rack server w Xeon Gold 6244 8C 3.60GHz (2 Chips, 16 Cores) | 0 | 8000 | 1600 | 4 | 30% | 16 | 2 | 8 | 30 |  | 0.5
Rack server w Xeon Gold 5115 10C 2.40GHz (2 Chips, 20 Cores) | 0 | 10000 | 2000 | 4 | 30% | 20 | 2 | 10 | 30 |  | 0.6
Rack server w Xeon Gold 6146 12C 3.20GHz (2 Chips, 24 Cores) | 0 | 12000 | 2400 | 4 | 30% | 24 | 2 | 12 | 15 |  | 1.2
Rack server w Xeon Gold 6146 12C 3.20GHz (4 Chips, 48 Cores) | 0 | 24000 | 4800 | 4 | 30% | 48 | 4 | 12 | 15 |  | 1.2
Dell R640 1U w Xeon Gold 6252N 24C 2.3GHz (2 Chips, 24 Cores) 12 * 16GB RDIMM 3200MT/s | 0 | 17139 | 3427.8 | 4 | 30% | 48 | 2 | 24 | 30 |  | 0.75
Dell R940 3U w Xeon Gold 6254 18C 3.1Ghz (4 Chips, 18 Cores) 24 * 64GB RDIMM 3200MT/s | s | 68320 | 13664 | 4 | 30% | 72 | 4 | 18 | 10 |  | 1.6
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
Environment being investigated |  | # of Cores for bare workload | % of Cores vs bare workload | Allocated Cores | cores per Server | Allocated Servers | Tot cores available | Spare Cores | % of spare cores | Allocated Sockets |  |  | # of Server | # of Sockets | # of Cores | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Prod |  | 100 | see sizing | 172 | 72 | 3 | 216 | 44 | 20.37% | 10 |  | Prod | 3 | 10 | 172 | 143472 |  |  |  |  | 0 | 0 | 0 | 28694.4 | 28694.4 | 200860.8 | Prod
Dev |  |  | 50% | 50 | 72 | 1 | 72 | 22 | 30.56% | 3 |  | Dev | 1 | 3 | 50 | 47824 |  |  |  |  | 0 | 0 | 0 | 9564.8 | 9564.8 | 66953.6 | Dev
Test |  |  | 50% | 50 | 72 | 1 | 72 | 22 | 30.56% | 3 |  | Test | 1 | 3 | 50 | 47824 |  |  |  |  | 0 | 0 | 0 | 9564.8 | 9564.8 | 66953.6 | Test
PreProd |  |  | 100% | 100 | 72 | 2 | 144 | 44 | 30.56% | 6 |  | PreProd | 2 | 6 | 100 | 95648 |  |  |  |  | 0 | 0 | 0 | 19129.6 | 19129.6 | 133907.2 | QA
DR |  |  | 136% | 370 | 72 | 5 | 360 | -10 | -2.778% | 21 |  | DR | 5 | 21 | 370 | 239120 |  |  |  |  | 0 | 0 | 0 | 47824 | 47824 | 334768 | DR
TOT |  |  |  | 742 |  | 12 | 864 | 122 | 14.12% | 43 |  |  | 12 | 43 | 742 | 573888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 114777.6 | 114777.6 | 803443.2 | TOT
[13 empty] | # of Server | # of Sockets | # of Cores
Software Stack
Production |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  |  | 2000 | 1 | 20% | socket | socket | 1 | 3 | 10 | 172 |  | 10 | socket | 10 | 0 |  |  |  |  | 16000 | 16000 | 16000 | 16000 | 16000 | 80000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 3 | 10 | 172 |  | 10 | socket | 10 | 40000 |  |  |  |  | 0 | 8000 | 8000 | 8000 | 8000 | 72000
Application Server (IBM Web Sphere) |  | 46.73 | 9.346 | 2 | 75% | PVU | core | 70 | 3 | 10 | 172 |  | 172 | PVU | 12040 | 140657.3 |  |  |  |  | 0 | 28131.46 | 28131.46 | 28131.46 | 28131.46 | 253183.14
DB (Oracle NoSQL EE) |  | 8457 | 1860 | 1 | 75% | core | core | 0.5 | 3 | 10 | 172 |  | 172 | core | 86 | 181825.5 |  |  |  |  | 39990 | 39990 | 39990 | 39990 | 39990 | 381775.5
Data Replication Tools |  |  | 0 | 1 | 75% | core | core | 0.5 | 3 | 10 | 172 |  | 172 | core | 86 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 3 | 10 | 172 |  | 3 | server | 3 | 9000 |  |  |  |  | 0 | 1800 | 1800 | 1800 | 1800 | 16200
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 3 | 10 | 172 |  | 3 | server | 3 | 9000 |  |  |  |  | 0 | 1800 | 1800 | 1800 | 1800 | 16200
[15 empty] | PROD | 380482.8 | 0 | 0 | 0 | 0 | 55990 | 95721.46 | 95721.46 | 95721.46 | 95721.46 | 819358.64
Dev |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 0 | 2000 | 1 | 20% | socket | socket | 1 | 1 | 3 | 50 |  | 3 | socket | 3 | 0 |  |  |  |  | 4800 | 4800 | 4800 | 4800 | 4800 | 24000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 1 | 3 | 50 |  | 3 | socket | 3 | 12000 |  |  |  |  | 0 | 2400 | 2400 | 2400 | 2400 | 21600
Application Server (IBM Web Sphere) |  | 46.73 | 9.346 | 2 | 75% | PVU | core | 70 | 1 | 3 | 50 |  | 50 | PVU | 3500 | 40888.75 |  |  |  |  | 0 | 8177.75 | 8177.75 | 8177.75 | 8177.75 | 73599.75
DB (Oracle NoSQL EE) |  | 8457 | 1860 | 1 | 75% | core | core | 0.5 | 1 | 3 | 50 |  | 50 | core | 25 | 52856.25 |  |  |  |  | 11625 | 11625 | 11625 | 11625 | 11625 | 110981.25
Data Replication Tools |  | 0 | 0 | 1 | 75% | core | core | 0.5 | 1 | 3 | 50 |  | 50 | core | 25 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 1 | 3 | 50 |  | 1 | server | 1 | 3000 |  |  |  |  | 0 | 600 | 600 | 600 | 600 | 5400
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 1 | 3 | 50 |  | 1 | server | 1 | 3000 |  |  |  |  | 0 | 600 | 600 | 600 | 600 | 5400
[15 empty] | DEV | 111745 | 0 | 0 | 0 | 0 | 16425 | 28202.75 | 28202.75 | 28202.75 | 28202.75 | 240981
Test |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 0 | 2000 | 1 | 20% | socket | socket | 1 | 1 | 3 | 50 |  | 3 | socket | 3 | 0 |  |  |  |  | 4800 | 4800 | 4800 | 4800 | 4800 | 24000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 1 | 3 | 50 |  | 3 | socket | 3 | 12000 |  |  |  |  | 0 | 2400 | 2400 | 2400 | 2400 | 21600
Application Server (IBM Web Sphere) |  | 46.73 | 9.346 | 2 | 75% | PVU | core | 70 | 1 | 3 | 50 |  | 50 | PVU | 3500 | 40888.75 |  |  |  |  | 0 | 8177.75 | 8177.75 | 8177.75 | 8177.75 | 73599.75
DB (Oracle NoSQL EE) |  | 8457 | 1860 | 1 | 75% | core | core | 0.5 | 1 | 3 | 50 |  | 50 | core | 25 | 52856.25 |  |  |  |  | 11625 | 11625 | 11625 | 11625 | 11625 | 110981.25
Data Replication Tools |  | 0 | 0 | 1 | 75% | core | core | 0.5 | 1 | 3 | 50 |  | 50 | core | 25 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 1 | 3 | 50 |  | 1 | server | 1 | 3000 |  |  |  |  | 0 | 600 | 600 | 600 | 600 | 5400
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 1 | 3 | 50 |  | 1 | server | 1 | 3000 |  |  |  |  | 0 | 600 | 600 | 600 | 600 | 5400
[15 empty] | Test | 111745 | 0 | 0 | 0 | 0 | 16425 | 28202.75 | 28202.75 | 28202.75 | 28202.75 | 240981
Pre Prod / QA |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 0 | 2000 | 1 | 20% | socket | socket | 1 | 2 | 6 | 100 |  | 6 | socket | 6 | 0 |  |  |  |  | 9600 | 9600 | 9600 | 9600 | 9600 | 48000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 2 | 6 | 100 |  | 6 | socket | 6 | 24000 |  |  |  |  | 0 | 4800 | 4800 | 4800 | 4800 | 43200
Application Server (IBM Web Sphere) |  | 46.73 | 9.346 | 2 | 75% | PVU | core | 70 | 2 | 6 | 100 |  | 100 | PVU | 7000 | 81777.5 |  |  |  |  | 0 | 16355.5 | 16355.5 | 16355.5 | 16355.5 | 147199.5
DB (Oracle NoSQL EE) |  | 8457 | 1860 | 1 | 75% | core | core | 0.5 | 2 | 6 | 100 |  | 100 | core | 50 | 105712.5 |  |  |  |  | 23250 | 23250 | 23250 | 23250 | 23250 | 221962.5
Data Replication Tools |  | 0 | 0 | 1 | 75% | core | core | 0.5 | 2 | 6 | 100 |  | 100 | core | 50 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 2 | 6 | 100 |  | 2 | server | 2 | 6000 |  |  |  |  | 0 | 1200 | 1200 | 1200 | 1200 | 10800
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 2 | 6 | 100 |  | 2 | server | 2 | 6000 |  |  |  |  | 0 | 1200 | 1200 | 1200 | 1200 | 10800
[15 empty] | Pre Prod /QA | 223490 | 0 | 0 | 0 | 0 | 32850 | 56405.5 | 56405.5 | 56405.5 | 56405.5 | 481962
DR |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 0 | 2000 | 1 | 20% | socket | socket | 1 | 5 | 21 | 370 |  | 21 | socket | 21 | 0 |  |  |  |  | 33600 | 33600 | 33600 | 33600 | 33600 | 168000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 5 | 21 | 370 |  | 21 | socket | 21 | 84000 |  |  |  |  | 0 | 16800 | 16800 | 16800 | 16800 | 151200
Application Server (IBM Web Sphere) |  | 46.73 | 9.346 | 2 | 75% | PVU | core | 70 | 5 | 21 | 370 |  | 370 | PVU | 25900 | 302576.75 |  |  |  |  | 0 | 60515.35 | 60515.35 | 60515.35 | 60515.35 | 544638.15
DB (Oracle NoSQL EE) |  | 8457 | 1860 | 1 | 75% | core | core | 0.5 | 5 | 21 | 370 |  | 370 | core | 185 | 391136.25 |  |  |  |  | 86025 | 86025 | 86025 | 86025 | 86025 | 821261.25
Data Replication Tools |  | 0 | 0 | 1 | 75% | core | core | 0.5 | 5 | 21 | 370 |  | 370 | core | 185 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 5 | 21 | 370 |  | 5 | server | 5 | 15000 |  |  |  |  | 0 | 3000 | 3000 | 3000 | 3000 | 27000
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 5 | 21 | 370 |  | 5 | server | 5 | 15000 |  |  |  |  | 0 | 3000 | 3000 | 3000 | 3000 | 27000
[15 empty] | DR | 807713 | 0 | 0 | 0 | 0 | 119625 | 202940.35 | 202940.35 | 202940.35 | 202940.35 | 1739099.4
[13 empty] | Software Stack TOTALS |  |  | 1635175.8 | 0 | 0 | 0 | 0 | 241315 | 411472.81 | 411472.81 | 411472.81 | 411472.81 | 3522382.04 | TOT
People
People | [12 empty] | # of Server | FTE Require |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
# of Servers covered by 1 FTE for IT Operations considering QoS |  |  | 30 | This is for patches, upgrade, backup, Crit Sit or Disaster recovery personnels, etc | [7 empty] | Prod | 3 | 0.1 |  | 1: 10000; 2: 10000; 3: 10000; 4: 10000; 5: 10000 | 50000 | Prod
Avg yearly Fully loaded cost of IT Staff |  |  | 100000 | [8 empty] | Dev | 1 | 0.033333 |  | 1: 3333.3333; 2: 3333.3333; 3: 3333.3333; 4: 3333.3333; 5: 3333.3333 | 16666.6667 | Dev
[12 empty] | Test | 1 | 0.033333 |  | 1: 3333.3333; 2: 3333.3333; 3: 3333.3333; 4: 3333.3333; 5: 3333.3333 | 16666.6667 | Test
[12 empty] | QA | 2 | 0.066667 |  | 1: 6666.6667; 2: 6666.6667; 3: 6666.6667; 4: 6666.6667; 5: 6666.6667 | 33333.3333 | QA
[12 empty] | DR | 5 | 0.16667 |  | 1: 16666.6667; 2: 16666.6667; 3: 16666.6667; 4: 16666.6667; 5: 16666.6667 | 83333.3333 | DR
[13 empty] | TOT FTE required | 0.4 |  | 0 | 0 | 0 | 0 | 0 | 40000 | 40000 | 40000 | 40000 | 40000 | 200000 | TOT
Network
Network | [13 empty] | # of Server |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Avg cost of Networking Infrastructure per Server |  |  | 7000 | [9 empty] | Prod | 3 |  | 14700 |  |  |  |  | 0 | 1470 | 1470 | 1470 | 1470 | 20580 | Prod
Avg discount % |  |  | 30% | [9 empty] | Dev | 1 |  | 4900 |  |  |  |  | 0 | 490 | 490 | 490 | 490 | 6860 | Dev
Avg Maintenance/ Operating Cost (% of acq.) |  |  | 10% | [9 empty] | Test | 1 |  | 4900 |  |  |  |  | 0 | 490 | 490 | 490 | 490 | 6860 | Test
Avg Maintenance/ Operating Cost (Currency) |  |  | 700 | [9 empty] | QA | 2 |  | 9800 |  |  |  |  | 0 | 980 | 980 | 980 | 980 | 13720 | QA
Starting Year of Maint |  |  | 2 | [9 empty] | DR | 5 |  | 24500 |  |  |  |  | 0 | 2450 | 2450 | 2450 | 2450 | 34300 | DR
[13 empty] | TOT # of Servers | 12 |  | 58800 | 0 | 0 | 0 | 0 | 0 | 5880 | 5880 | 5880 | 5880 | 82320 | TOT
Facilities
Space | [12 empty] | # of Server | # of Rack Cab | Avg. Footprint | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Footprint of Server Rack Cabinet |  | sq.m. | 2.6 | [8 empty] | Prod | 3 | 0.3 | 1 | 1: 2600; 2: 2600; 3: 2600; 4: 2600; 5: 2600 | 13000 | Prod
# of "boxes" per Rack |  |  | 10 | [8 empty] | Dev | 1 | 0.1 | 0.26 | 1: 676; 2: 676; 3: 676; 4: 676; 5: 676 | 3380 | Dev
Fully loaded cost of space per sq meter |  | $ | 2600 | [8 empty] | Test | 1 | 0.1 | 0.26 | 1: 676; 2: 676; 3: 676; 4: 676; 5: 676 | 3380 | Test
[12 empty] | QA | 2 | 0.2 | 0.52 | 1: 1352; 2: 1352; 3: 1352; 4: 1352; 5: 1352 | 6760 | QA
[12 empty] | DR | 5 | 0.5 | 2 | 1: 5200; 2: 5200; 3: 5200; 4: 5200; 5: 5200 | 26000 | DR
[13 empty] | 12 | 1.2 | 4.04 | 0 | 0 | 0 | 0 | 0 | 10504 | 10504 | 10504 | 10504 | 10504 | 52520 | TOT
[13 empty] | # of Server | # of Rack Cab | 4 | 1: 10504
Electricity | [12 empty] | # of Servers | kWh / year |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Actual Electricity Cost at the sites |  | €/kWh | 0.1 | [8 empty] | Prod | 3 | 42048 |  | 10504 1: 4204.8; 10504 2: 4204.8; 10504 3: 4204.8; 10504 4: 4204.8; 10504 5: 4204.8 | 21024 | Prod
Electricity Additional Cost for cooling, UPS and other peripherals |  | % | 66% | [8 empty] | Dev | 1 | 14016 |  | 10504 1: 1401.6; 10504 2: 1401.6; 10504 3: 1401.6; 10504 4: 1401.6; 10504 5: 1401.6 | 7008 | Dev
Electricity Consumption of Selected Server |  | kWh | 1.6 | [8 empty] | Test | 1 | 14016 |  | 10504 1: 1401.6; 10504 2: 1401.6; 10504 3: 1401.6; 10504 4: 1401.6; 10504 5: 1401.6 | 7008 | Test
Yearly kWh/ server |  | kWh | 14016 | [8 empty] | QA | 2 | 28032 |  | 10504 1: 2803.2; 10504 2: 2803.2; 10504 3: 2803.2; 10504 4: 2803.2; 10504 5: 2803.2 | 14016 | QA
[12 empty] | DR | 5 | 70080 |  | 10504 1: 7008; 10504 2: 7008; 10504 3: 7008; 10504 4: 7008; 10504 5: 7008 | 35040 | DR
[13 empty] | 12 | 168192 |  | 0 | 0 | 0 | 0 | 0 | 16819.2 | 16819.2 | 16819.2 | 16819.2 | 16819.2 | 84096 | TOT
[13 empty] | # of Servers | kWh / year
[12 empty] | Prod |  |  |  | 0 | 0 | 0 | 0 | 0 | 6804.8 | 6804.8 | 6804.8 | 6804.8 | 6804.8 | 34024 | Prod
[12 empty] | Dev |  |  |  | 0 | 0 | 0 | 0 | 0 | 2077.6 | 2077.6 | 2077.6 | 2077.6 | 2077.6 | 10388 | Dev
[12 empty] | Test |  |  |  | 0 | 0 | 0 | 0 | 0 | 2077.6 | 2077.6 | 2077.6 | 2077.6 | 2077.6 | 10388 | Test
[12 empty] | QA |  |  |  | 0 | 0 | 0 | 0 | 0 | 4155.2 | 4155.2 | 4155.2 | 4155.2 | 4155.2 | 20776 | QA
[12 empty] | DR |  |  |  | 0 | 0 | 0 | 0 | 0 | 12208 | 12208 | 12208 | 12208 | 12208 | 61040 | DR
[13 empty] | Facilities TOTALS |  |  | 0 | 0 | 0 | 0 | 0 | 27323.2 | 27323.2 | 27323.2 | 27323.2 | 27323.2 | 136616 | TOT
[14 empty] | Total costs for this scenario |  | 2267863.8 | 0 | 0 | 0 | 0 | 308638.2 | 484676.01 | 484676.01 | 599453.61 | 599453.61 | 4744761.24 | TOT
[14 empty] | Tot costs per year |  | 10504 1: 2576502; 10504 2: 484676.01; 10504 3: 484676.01; 10504 4: 599453.61; 10504 5: 599453.61 | 4744761.24
[14 empty] | Tot cumulative costs |  | 10504 1: 2576502; 10504 2: 3061178.01; 10504 3: 3545854.02; 10504 4: 4145307.63; 10504 5: 4744761.24

## LinuxONE TCO
Enterprise Grade Linux Environment | [14 empty] | Acquisition/Capital Cost |  |  |  |  | Maintenance/ Operating Cost |  |  |  |  | TOTALS
Typically LinuxONE | [14 empty] | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5
Hardware
Linux ONE | Acquisition Cost | Included cores | core cost | CBU Cost | Discount % | # of Cores per Server | Maintenance/ Operating Cost | Starting Year of Maint | kW |  |  | SW Incl | SW incl | SW incl | Acquisition/Capital Cost 1: SW incl
Simplicistic model to build a price example | 600000 | 6 | 50000 | 5000 | 30% | 190 | 10% | 4 | 15 |  |  | OS | VM | Admin | Acquisition/Capital Cost 1: Management
This is an estimate based on this web page: | https://www.ibm.com/it-infrastructure/resources/tools/linuxone-tco-calculator/
Simplicistic architecture considering always 2 LinuxONE servers, each one in a different site for HA & DR
| # of Cores (core) for bare workload | % of Cores vs bare workload | Allocated Cores | Site 1 core | Site 2 core | Site 1 CBU | Site 2 CBU |  | Allocation % |  |  | # of Server | # of Sockets | # of Cores | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Prod | 10 | see sizing | 10 | 10 |  |  | 10 | Prod | 33.33% |  | Prod | 0.66667 | 10 | 10 | 490000 |  |  |  |  | 0 | 0 | 0 | 49000 | 49000 | 588000 | Prod
Dev |  | 50% | 5 | 5 | 0 |  |  | Dev | 16.67% |  | Dev | 0.33333 | 5 | 5 | 245000 |  |  |  |  | 0 | 0 | 0 | 24500 | 24500 | 294000 | Dev
Test |  | 50% | 5 | 0 | 5 |  |  | Test | 16.67% |  | Test | 0.33333 | 5 | 5 | 245000 |  |  |  |  | 0 | 0 | 0 | 24500 | 24500 | 294000 | Test
PreProd |  | 100% | 10 |  | 10 | 10 |  | QA | 33.33% |  | QA | 0.66667 | 10 | 10 | 490000 |  |  |  |  | 0 | 0 | 0 | 49000 | 49000 | 588000 | QA
DR | [5 empty] | 10 | 10 | DR |  |  | DR |  |  |  | 70000 |  |  |  |  | 0 | 0 | 0 | 7000 | 7000 | 84000 | DR
TOT |  |  | 30 | 15 | 15 | 10 | 10 |  | 100% |  |  | 2 | 30 | 30 | 1540000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 154000 | 154000 | 1848000 | TOT
|  |  | Price per Site | 1050000 | 1050000 | 50000 | 50000 |  |  |  |  | # of Server | # of Sockets | # of Cores
Software Stack
Production | Acquisition/ Capital Cost | Maintenance/ Subscription | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 6000 | 1 | 20% | core | core | 1 | 0.66667 | 10 | 10 |  | 10 | socket | 10 | 0 |  |  |  |  | 48000 | 48000 | 48000 | 48000 | 48000 | 240000
VM |  |  | 2 | 20% | core | core | 1 | 0.66667 | 10 | 10 |  | 10 | socket | 10 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server (IBM Web Sphere) | 46.73 | 9.346 | 2 | 50% | PVU | core | 120 | 0.66667 | 10 | 10 |  | 10 | PVU | 1200 | 28038 |  |  |  |  | 0 | 5607.6 | 5607.6 | 5607.6 | 5607.6 | 50468.4
DB (Oracle NoSQL EE) | 8457 | 1860 | 2 | 50% | core | core | 1 | 0.66667 | 10 | 10 |  | 10 | core | 10 | 42285 |  |  |  |  | 0 | 9300 | 9300 | 9300 | 9300 | 79485
Data Replication Tools |  | 0 | 1 | 50% | core | core | 1 | 0.66667 | 10 | 10 |  | 10 | core | 10 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.66667 | 10 | 10 |  | 0.66667 | server | 0.66667 | 2000 |  |  |  |  | 0 | 400 | 400 | 400 | 400 | 3600
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.66667 | 10 | 10 |  | 0.66667 | server | 0.66667 | 2000 |  |  |  |  | 0 | 400 | 400 | 400 | 400 | 3600
[14 empty] | PROD | 74323 | 0 | 0 | 0 | 0 | 48000 | 63707.6 | 63707.6 | 63707.6 | 63707.6 | 377153.4
Dev | Acquisition/ Capital Cost | Maintenance/ Subscription | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS | 0 | 6000 | 1 | 20% | core | core | 1 | 0.33333 | 5 | 5 |  | 5 | socket | 5 | 0 |  |  |  |  | 24000 | 24000 | 24000 | 24000 | 24000 | 120000
VM | 0 | 0 | 2 | 20% | core | core | 1 | 0.33333 | 5 | 5 |  | 5 | socket | 5 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server (IBM Web Sphere) | 46.73 | 9.346 | 2 | 50% | PVU | core | 120 | 0.33333 | 5 | 5 |  | 5 | PVU | 600 | 14019 |  |  |  |  | 0 | 2803.8 | 2803.8 | 2803.8 | 2803.8 | 25234.2
DB (Oracle NoSQL EE) | 8457 | 1860 | 2 | 50% | core | core | 1 | 0.33333 | 5 | 5 |  | 5 | core | 5 | 21142.5 |  |  |  |  | 0 | 4650 | 4650 | 4650 | 4650 | 39742.5
Data Replication Tools | 0 | 0 | 1 | 50% | core | core | 1 | 0.33333 | 5 | 5 |  | 5 | core | 5 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.33333 | 5 | 5 |  | 0.33333 | server | 0.33333 | 1000 |  |  |  |  | 0 | 200 | 200 | 200 | 200 | 1800
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.33333 | 5 | 5 |  | 0.33333 | server | 0.33333 | 1000 |  |  |  |  | 0 | 200 | 200 | 200 | 200 | 1800
[14 empty] | DEV | 37161.5 | 0 | 0 | 0 | 0 | 24000 | 31853.8 | 31853.8 | 31853.8 | 31853.8 | 188576.7
Test | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS | 0 | 6000 | 1 | 20% | core | core | 1 | 0.33333 | 5 | 5 |  | 5 | socket | 5 | 0 |  |  |  |  | 24000 | 24000 | 24000 | 24000 | 24000 | 120000
VM | 0 | 0 | 2 | 20% | core | core | 1 | 0.33333 | 5 | 5 |  | 5 | socket | 5 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server (IBM Web Sphere) | 46.73 | 9.346 | 2 | 50% | PVU | core | 120 | 0.33333 | 5 | 5 |  | 5 | PVU | 600 | 14019 |  |  |  |  | 0 | 2803.8 | 2803.8 | 2803.8 | 2803.8 | 25234.2
DB (Oracle NoSQL EE) | 8457 | 1860 | 2 | 50% | core | core | 1 | 0.33333 | 5 | 5 |  | 5 | core | 5 | 21142.5 |  |  |  |  | 0 | 4650 | 4650 | 4650 | 4650 | 39742.5
Data Replication Tools | 0 | 0 | 1 | 50% | core | core | 1 | 0.33333 | 5 | 5 |  | 5 | core | 5 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.33333 | 5 | 5 |  | 0.33333 | server | 0.33333 | 1000 |  |  |  |  | 0 | 200 | 200 | 200 | 200 | 1800
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.33333 | 5 | 5 |  | 0.33333 | server | 0.33333 | 1000 |  |  |  |  | 0 | 200 | 200 | 200 | 200 | 1800
[14 empty] | Test | 37161.5 | 0 | 0 | 0 | 0 | 24000 | 31853.8 | 31853.8 | 31853.8 | 31853.8 | 188576.7
Pre Prod / QA | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS | 0 | 6000 | 1 | 20% | core | core | 1 | 0.66667 | 10 | 10 |  | 10 | socket | 10 | 0 |  |  |  |  | 48000 | 48000 | 48000 | 48000 | 48000 | 240000
VM | 0 | 0 | 2 | 20% | core | core | 1 | 0.66667 | 10 | 10 |  | 10 | socket | 10 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server (IBM Web Sphere) | 46.73 | 9.346 | 2 | 50% | PVU | core | 120 | 0.66667 | 10 | 10 |  | 10 | PVU | 1200 | 28038 |  |  |  |  | 0 | 5607.6 | 5607.6 | 5607.6 | 5607.6 | 50468.4
DB (Oracle NoSQL EE) | 8457 | 1860 | 2 | 50% | core | core | 1 | 0.66667 | 10 | 10 |  | 10 | core | 10 | 42285 |  |  |  |  | 0 | 9300 | 9300 | 9300 | 9300 | 79485
Data Replication Tools | 0 | 0 | 1 | 50% | core | core | 1 | 0.66667 | 10 | 10 |  | 10 | core | 10 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.66667 | 10 | 10 |  | 0.66667 | server | 0.66667 | 2000 |  |  |  |  | 0 | 400 | 400 | 400 | 400 | 3600
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.66667 | 10 | 10 |  | 0.66667 | server | 0.66667 | 2000 |  |  |  |  | 0 | 400 | 400 | 400 | 400 | 3600
[14 empty] | Pre Prod /QA | 74323 | 0 | 0 | 0 | 0 | 48000 | 63707.6 | 63707.6 | 63707.6 | 63707.6 | 377153.4
DR | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS | 0 | 6000 | 1 | 20% | core | core | 1 | 0 | 0 | 0 |  | 0 | socket | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
VM | 0 | 0 | 2 | 20% | core | core | 1 | 0 | 0 | 0 |  | 0 | socket | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server (IBM Web Sphere) | 46.73 | 9.346 | 2 | 50% | PVU | core | 120 | 0 | 0 | 0 |  | 0 | PVU | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
DB (Oracle NoSQL EE) | 8457 | 1860 | 2 | 50% | core | core | 1 | 0 | 0 | 0 |  | 0 | core | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Data Replication Tools | 0 | 0 | 1 | 50% | core | core | 1 | 0 | 0 | 0 |  | 0 | core | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0 | 0 | 0 |  | 0 | server | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0 | 0 | 0 |  | 0 | server | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[14 empty] | DR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | Software Stack TOTALS |  |  | 222969 | 0 | 0 | 0 | 0 | 144000 | 191122.8 | 191122.8 | 191122.8 | 191122.8 | 1131460.2 | TOT
People
People | [11 empty] | # of Server | FTE Require |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
# of Servers covered by 1 FTE for IT Operations considering QoS |  | 10 | This is for patches, upgrade, backup, Crit Sit or Disaster recovery personnels, etc | [7 empty] | Prod | 0.66667 | 0.066667 |  | 1: 6666.6667; 2: 6666.6667; 3: 6666.6667; 4: 6666.6667; 5: 6666.6667 | 33333.3333 | Prod
Avg yearly Fully loaded cost of IT Staff |  | 100000 | [8 empty] | Dev | 0.33333 | 0.033333 |  | 1: 3333.3333; 2: 3333.3333; 3: 3333.3333; 4: 3333.3333; 5: 3333.3333 | 16666.6667 | Dev
[11 empty] | Test | 0.33333 | 0.033333 |  | 1: 3333.3333; 2: 3333.3333; 3: 3333.3333; 4: 3333.3333; 5: 3333.3333 | 16666.6667 | Test
[11 empty] | QA | 0.66667 | 0.066667 |  | 1: 6666.6667; 2: 6666.6667; 3: 6666.6667; 4: 6666.6667; 5: 6666.6667 | 33333.3333 | QA
[11 empty] | DR | 0 | 0 |  | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0 | 0 | DR
[12 empty] | TOT FTE required | 0.2 |  | 0 | 0 | 0 | 0 | 0 | 20000 | 20000 | 20000 | 20000 | 20000 | 100000 | TOT
Network
Network | [12 empty] | # of Server |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Avg cost of Networking Infrastructure per Server |  | 14000 | [9 empty] | Prod | 0.66667 |  | 6533.3333 |  |  |  |  | 0 | 653.3333 | 653.3333 | 653.3333 | 653.3333 | 9146.6667 | Prod
Avg discount % |  | 30% | [9 empty] | Dev | 0.33333 |  | 3266.6667 |  |  |  |  | 0 | 326.6667 | 326.6667 | 326.6667 | 326.6667 | 4573.3333 | Dev
Avg Maintenance/ Operating Cost (% of acq.) |  | 10% | [9 empty] | Test | 0.33333 |  | 3266.6667 |  |  |  |  | 0 | 326.6667 | 326.6667 | 326.6667 | 326.6667 | 4573.3333 | Test
Avg Maintenance/ Operating Cost (Currency) |  | 1400 | [9 empty] | QA | 0.66667 |  | 6533.3333 |  |  |  |  | 0 | 653.3333 | 653.3333 | 653.3333 | 653.3333 | 9146.6667 | QA
Starting Year of Maint |  | 2 | [9 empty] | DR | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | DR
[12 empty] | TOT # of Servers | 2 |  | 19600 | 0 | 0 | 0 | 0 | 0 | 1960 | 1960 | 1960 | 1960 | 27440 | TOT
Facilities
Space | [11 empty] | # of Server | # of Rack Cab | Avg. Footprint | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Footprint of Server Rack Cabinet | sq.m. | 2.6 | [8 empty] | Prod | 0.66667 | 0.66667 | 1.7333 | 1: 4853.3333; 2: 4853.3333; 3: 4853.3333; 4: 4853.3333; 5: 4853.3333 | 24266.6667 | Prod
[11 empty] | Dev | 0.33333 | 0.33333 | 0.86667 | 1: 2426.6667; 2: 2426.6667; 3: 2426.6667; 4: 2426.6667; 5: 2426.6667 | 12133.3333 | Dev
Fully loaded cost of space per sq meter | $ | 2800 | [8 empty] | Test | 0.33333 | 0.33333 | 0.86667 | 1: 2426.6667; 2: 2426.6667; 3: 2426.6667; 4: 2426.6667; 5: 2426.6667 | 12133.3333 | Test
[11 empty] | QA | 0.66667 | 0.66667 | 1.7333 | 1: 4853.3333; 2: 4853.3333; 3: 4853.3333; 4: 4853.3333; 5: 4853.3333 | 24266.6667 | QA
[11 empty] | DR | 0 | 0 | 0 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0 | 0 | DR
[12 empty] | 2 | 2 | 5.2 | 0 | 0 | 0 | 0 | 0 | 14560 | 14560 | 14560 | 14560 | 14560 | 72800 | TOT
[12 empty] | # of Server | # of Rack Cab | Avg. Footprint
Electricity | [11 empty] | # of Servers | kWh / year |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Actual Electricity Cost at the sites | €/kWh | 0.1 |  |  |  |  | Electricity Consumption by fully loaded z Server | kWh | 15 |  | Prod | 0.66667 | 6915.7895 |  | 1: 691.5789; 2: 691.5789; 3: 691.5789; 4: 691.5789; 5: 691.5789 | 3457.8947 | Prod
Electricity Additional Cost for cooling, UPS and other peripherals | % | 66% |  |  |  |  | Electricity by core | kWh | 0.078947 |  | Dev | 0.33333 | 3457.8947 |  | 1: 345.7895; 2: 345.7895; 3: 345.7895; 4: 345.7895; 5: 345.7895 | 1728.9474 | Dev
Electricity Consumption of Selected Server | kWh | 1.1842 | [8 empty] | Test | 0.33333 | 3457.8947 |  | 1: 345.7895; 2: 345.7895; 3: 345.7895; 4: 345.7895; 5: 345.7895 | 1728.9474 | Test
Yearly kWh/ server | kWh | 10373.6842 |  |  |  |  | Number of cores |  | 15 |  | QA | 0.66667 | 6915.7895 |  | 1: 691.5789; 2: 691.5789; 3: 691.5789; 4: 691.5789; 5: 691.5789 | 3457.8947 | QA
[11 empty] | DR | 0 | 0 |  | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0 | 0 | DR
[12 empty] | 2 | 20747.3684 |  | 0 | 0 | 0 | 0 | 0 | 2074.7368 | 2074.7368 | 2074.7368 | 2074.7368 | 2074.7368 | 10373.6842 | TOT
[12 empty] | # of Servers | kWh / year
[11 empty] | Prod |  |  |  | 0 | 0 | 0 | 0 | 0 | 5544.9123 | 5544.9123 | 5544.9123 | 5544.9123 | 5544.9123 | 27724.5614 | Prod
[11 empty] | Dev |  |  |  | 0 | 0 | 0 | 0 | 0 | 2772.4561 | 2772.4561 | 2772.4561 | 2772.4561 | 2772.4561 | 13862.2807 | Dev
[11 empty] | Test |  |  |  | 0 | 0 | 0 | 0 | 0 | 2772.4561 | 2772.4561 | 2772.4561 | 2772.4561 | 2772.4561 | 13862.2807 | Test
[11 empty] | QA |  |  |  | 0 | 0 | 0 | 0 | 0 | 5544.9123 | 5544.9123 | 5544.9123 | 5544.9123 | 5544.9123 | 27724.5614 | QA
[11 empty] | DR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | DR
[12 empty] | Facilities TOTALS |  |  | 0 | 0 | 0 | 0 | 0 | 16634.7368 | 16634.7368 | 16634.7368 | 16634.7368 | 16634.7368 | 83173.6842 | TOT
[13 empty] | Total costs for this scenario |  | 1782569 | 0 | 0 | 0 | 0 | 180634.7368 | 229717.5368 | 229717.5368 | 383717.5368 | 383717.5368 | 3190073.8842 | TOT
[13 empty] | Tot costs per year |  | 1: 1963203.7368; 2: 229717.5368; 3: 229717.5368; 4: 383717.5368; 5: 383717.5368 | 3190073.8842
[13 empty] | Tot cumulative costs |  | 1: 1963203.7368; 2: 2192921.2737; 3: 2422638.8105; 4: 2806356.3474; 5: 3190073.8842

## TCO comparison
| Workload [TPS]= | 2000
| x86 | Environments | [6 empty] | LinuxONE | Environments
Dell R940 3U w Xeon Gold 6254 18C 3.1Ghz (4 Chips, 18 Cores) 24 * 64GB RDIMM 3200MT/s |  | Prod | Dev | Test | PreProd/QA | DR | Tot by Comp |  |  | Prod | Dev | Test | PreProd/QA | DR | Tot by Comp
Components | Hardware | 200860.8 | 66953.6 | 66953.6 | 133907.2 | 334768 | 803443.2 | Components | Hardware | 588000 | 294000 | 294000 | 588000 | 84000 | 1848000
| Software | 819358.64 | 240981 | 240981 | 481962 | 1739099.4 | 3522382.04 |  | Software | 377153.4 | 188576.7 | 188576.7 | 377153.4 | 0 | 1131460.2
| People | 200000 |  |  |  |  | 200000 |  | People | 100000 |  |  |  |  | 100000
| Network | 20580 | 6860 | 6860 | 13720 | 34300 | 82320 |  | Network | 9146.6667 | 4573.3333 | 4573.3333 | 9146.6667 | 0 | 27440
| Space | 13000 | 3380 | 3380 | 6760 | 26000 | 52520 |  | Space | 24266.6667 | 12133.3333 | 12133.3333 | 24266.6667 | 0 | 72800
| Electricity | 21024 | 7008 | 7008 | 14016 | 35040 | 84096 |  | Electricity | 3457.8947 | 1728.9474 | 1728.9474 | 3457.8947 | 0 | 10373.6842
| Total by Env | 1274823.44 | 325182.6 | 325182.6 | 650365.2 | 2169207.4 | 4744761.24 |  | Total by Env | 1102024.6281 | 501012.314 | 501012.314 | 1002024.6281 | 84000 | 3190073.8842
[14 empty] | Savings = | 32.77%
| Hardware | Software | People | Network | Facilities | DR | TOT
x86 | 468675.2 | 1783282.64 | 200000 | #REF! | #REF! | 2169207.4 | #REF!
LinuxONE | 1764000 | 1131460.2 | 100000 | #REF! | #REF! | 84000 | #REF!
| Cumulative Costs | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
| x86 | 2576502 | 3061178.01 | 3545854.02 | 4145307.63 | 4744761.24
| LinuxONE | 1963203.7368 | 2192921.2737 | 2422638.8105 | 2806356.3474 | 3190073.8842
| TCA (1st year) | Hardware | Software | TOT
| x86 | 573888 | 380482.8 | 954370.8
| LinuxONE | 1540000 | 74323 | 1614323 | 169.2%

## TCO tps compare
Total Cost
TPS | x86 1U server | LinuxONE
25 | 824627.14 | 1387604.5179
50 | 857851.72 | 1387604.5179
100 | 932117.64 | 1387604.5179
175 | 1065449.48 | 1387604.5179
250 | 1202472.94 | 1470686.7768
500 | 1632868.46 | 1628451.2947
1000 | 2773860.6133 | 2037298.0716
1500 | 4129351.2 | 2697227.1074
2000 | 4744761.24 | 3190073.8842
5000 | 9748973.8667 | 6965765.84
10000 | 18011062.7333 | 13047009.4211

## Note
Java Application Server | Metric | Cost | Support 24x7 | Starting Support | Discount |  | Pricing in euros
WebLogic Enterprise Edition | Core | 21142 | 4651 | 1 | 0% |  |  |  | peak TPS
IBM WebSphere | PVU | 46.73 | 9.35 | 2 | 0% |  |  |  | 25
50
100
Open Source Java Application Server | Metric | Cost | Support 24x7 | Starting Support | Discount |  |  |  | 175
TomEE | Core | 0 | missing information | 1 | 0% |  |  |  | 250
JBoss EAP | Core | 0 | 634 | 1 | 0% |  |  |  | 500
1000
1500
Database | Metric | Cost | Support 24x7 | Starting Support | Discount | Replication tool | Replication Cost |  | 2000
Oracle NoSQL Database Enterprise Edition | Core | 8457 | 1860 | 1 | 0% | Included | 0 |  | 5000
Microsoft SQL | Core | 7128 | 1425 | 1 | 0% | SQL Server Managment Studio | 0 |  | 10000
Open Source Database | Metric | Cost | Support 24x7 | Starting Support | Discount | Replication tool | Replication Cost
MySQL | Server | 0 | 4228 | 1 | 0% | SymmetricDS | 0
Postgre sql | Core | 0 | 2 Sockets: 6,051; 4 Sockets: 12,103 | 1 | 0% | Bucardo | 0
Servers | Cost | Reason | Discount | PVU per Core | Oracle core licensing factor
Dell R640 1U w Xeon Gold 6252N 24C 2.3GHz (2 Chips, 24 Cores) 12 * 16GB RDIMM 3200MT/s | 17139 | High density in rack with lots of cores | 41% | 70 | 0.5
Dell R940 3U w Xeon Gold 6254 18C 3.1Ghz (4 Chips, 18 Cores) 24 * 64GB RDIMM 3200MT/s | 68320 | Lower density in the rack but lots of memory | 0% | 100 | 0.5
Sources
https://www.ibm.com/software/passportadvantage/pvu_licensing_for_customers.html
https://reviews.financesonline.com/p/ibm-webspehre/
https://www.oracle.com/us/corporate/contracts/processor-core-factor-table-070634.pdf
https://www.oracle.com/assets/technology-price-list-070617.pdf
https://www.dell.com/it-it/work/shop/server-storage-e-connettivit%C3%A0/smart-value-power-edge-r640-server-performance/spd/poweredge-r640/per6403m?configurationid=20bf41ba-517c-4451-aaf9-49b44729c74e
https://www.dell.com/it-it/work/shop/cty/pdp/spd/poweredge-r940/emea_r940_vi_vp
https://www.redhat.com/en/store/red-hat-jboss-enterprise-application-platform
https://www.microsoft.com/it-it/sql-server/sql-server-2019-pricing
https://docs.microsoft.com/it-it/sql/ssms/download-sql-server-management-studio-ssms?view=sql-server-ver15
https://docs.oracle.com/cd/E17276_01/html/programmer_reference/rep.html#rep_intro
https://d110erj175o600.cloudfront.net/upload/images/10_2012/121015130212.pdf
https://www.postgresql.org/download/products/3-clusteringreplication/
https://www.mysql.com/it/products/
https://www.oracle.com/technetwork/nosql-vs-mongodb-1961723.pdf
Production |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor
OS |  |  | 2000 | 1 | 20% | socket | socket | 1
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1
Application Server |  | 100 | 20 | 2 | 75% | PVU | core | 70
DB |  | 40000 | 8000 | 2 | 75% | core | core | 0.5
Data Replication Tools |  |  | 3000 | 1 | 75% | core | core | 0.5
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1